## Slide 1
<number>
Installed system
  Cite submitted paper
Top view
Side view
Notes: 12

## Slide 2
1
Inside the chamber
  8 ToFs installed, 2 bare MCPs for “Current mode” resilience testing
  Positioning paddle, Gas needle, 4 pumps
Back view
Front view
Notes: 12

## Slide 3
2
Resolution measurements with Argon LMM
  201, 203, 205, 207 eV spectral features with 100 V retardation
  Preliminarily ½ eV resolution at 100eV pass energy (maybe ¼ eV)
90 112.5 -90 -45 -22.5 0 22.5
Guillemin et al., Rev. Sci. Inst. 71, 4387 (2000)
0
90
-90
Notes: 12

## Slide 4
3
Argon LMM Auger resolution and 2p angular resolution
  Looks like simulation
  Measured 1.43 vs 1.465… validates use as polarimeter
  Potentially ½ or ¼ eV resolution at 100eV pass energy
Courtesy Lars Funke
Notes: 12

## Slide 5
4
Neon Augers, Photos and Autoionizing 1s2 2s1 2p4 3p E/dE > 200 for single 0 eV -- 1 keV spectral window
  Low energy electrons highly sensitive to magnetic fields
  Previous CookieBox experienced significant dependence of angular patterns to Helmholtz coil nulling fields
  Steel chamber tests were blind below 30eV
Secondaries
Autoionization
All the way down
to few eV
KLL
2s
2p
KLL
2s
2p
Vertical Horizontal
Notes: 12

## Slide 6
5
Multi-edge resolution
  N2O Resonant Auger
  N 1s photoelectrons (75V)
  N KLL and O KLL Auger electrons (300V)
  Haven’t yet pushed resolution here yet
  Surrogate demonstration for multi-color measurements
Notes: 12

## Slide 7
6
Autoionizing features motivates multi-path interference
  Ulf Saalman and Jan Michael Rost for enhancement of non-linear signals because of SASE, Inhouse proposal submitted last Friday
    “Spooktroscopy” and attoclock ptychography as super-resolution methods in the time-energy domain … Daniel Ratner engaged, Alberto Lutman mode used in beamtime
    Dynamic Chirality by fs-scale time-dependent polarization shaping
Readout
channels
Notes: 12

## Slide 8
7
High Density HV, High Density Data
  From 70 SHV cables in June from patch panel...
  … to a full build out of 160 SHV channels
  Ideally MDC can do High Density vacuum feedthroughs in mu-metal spools
  Very “sensor” frontier of EdgeML
  Can we put an ADC, FPGA, and EdgeTPU actually on the flange?
Notes: 12

## Slide 9
<number>
Enabling Strategic Developments – EdgeAI
  AISDC
  Tixel for ToFs
Corbeil Therrien et al., “Machine Learning at the Edge for Ultra High Rate Detectors” NSS-MIC, 1-4, (2019) doi: 10.1109/NSS/MIC42101.2019.9059671
Notes: 12

## Slide 10
9
The CookieBox → MRCO Team
  Omar Quijano (TID-AIR Staff)
    EdgeML system admin
  Matt Feldman (EE/CS PhD Student) – Samba Nova
    Spatial-lang for FPGA
  Audrey Corbeil-Therrein (Banting Post-Doc Fellow) – Faculty @ U. Sherbrooke
    FPGA developer and ASIC design
  Andrei Kamalov (TMO Post-Doc)
    Laser lab testing and demonstration, CookieBox design and assembly, beamtime co-lead
  Razib Obaid (TMO Project Scientist)
    Detector R&D, CookieBox assembly, beamtime collaborator
  Averell Gatton (TMO Post-Doc) – (Clostra, Inc.)
    Simulations and model training, CookieBox design, beamtime author
  Debadri Das (Applied Physics PhD Student)
    Signal processing and algorithms
  Jack Hirschman (Applied Physics PhD and CS Student)
    RF electronics, FPGA, ASIC, and source control
  Naoufal Layad (Institute for Computational and Mathematical Engineering Masters Student)
    Surrogate modeling, Ensemble methods and Bayesian Networks
  Coffee (CookieBox lead), Walter (TMO/MRCO lead), Dragone (ASICs/Detectors), Herbst (FPGAs), Cryan (AMO)
Notes: 12

## Slide 11
10
Enabling Accelerator R&D and nonlinear x-ray methods
  Attoclocking in the FEE
    Bigest question was THz in the FEE
    Zhirong Huang, Alan Fisher, and Matthias Hoffman have beam-based THz development project that could directly feed the CookieBox in the FEE with long wavelength light at rate!
  LCLS-II developments CookieBox detector will support
    Ago’s double XLEAP
    Erik’s polarization shaping
    Alberto’s Fresh Slice methods… actually how we ran June beamtime
    Claudio’s Double Bunch and Harmonic Lasing
    … anything FEL shaping related and multi-bunch, e.g. in-line beam-based THz
  Scientific methods it will enable
    X-ray multi-photon signals enhanced by SASE, In-house proposal submitted last Friday
    “Spooktroscopy” and attoclock ptychography as super-resolution methods in the time-energy domain … Daniel Ratner engaged, Alberto Lutman mode used in beamtime
    Dynamic Chirality by fs-scale time-dependent polarization shaping, needs DELTA undulator
Notes: 12

## Slide 12
11
FY22 Technical R&D Topics
  Immediate CookieBox design adaptations
    Alternative to Zn/Ni/Au coating of ToF parts (although Aluminum worked well so far)
    High density HV feedtroughs to interface to solderless block
    Incorporate TIXEL area detector versus bucket detector MCP
  Direct signal processing for inference
    John Fox regarding custom MCP assembly for better RF signal decoupling
    Razib Obaid and Bernhard Adams regarding glass embedded amplifier circuit with larger area MCP
    Jack Hirschman’s idea to put ADC and FPGAs on the air side of the detector flange, e.g. featureize at the MCP.
  High density HV supply for auto-tuning of compound electrostatic lens: Self-aware CookieBox
Notes: <number>